## Not in the historian
Tag No. | Equipment Type | Included/Not | Room name as per drawings | Why it was removed
RDC_NB_GF_EV-5035 | EV | Included | Confr Room N-0112 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0115 | AT | Included | Office S-0233A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0116 | AT | Included | Office S-0232A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0117 | AT | Included | Open Plan S-0228 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0118 | AT | Included | Open Plan S-0228B | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0120 | AT | Included | Open Plan S-0228A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0122 | AT | Included | Office S-0211A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0123 | AT | Included | Office S-0211B | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0124 | AT | Included | Technical Open Plan S-0211 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VEV-6053 | VEV | Not Included | Open Lab 1 N-0310C | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VEV-6061 | VEV | Not Included | Lab Support 3 N-0310D | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VEV-6071 | VEV | Not Included | Lab Support 4 N-0310E | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VEV-6081 | VEV | Not Included | Lab Support 5 N-0310F | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VEV-6091 | VEV | Not Included | Lab Support 6 N-0310G | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_VAV-6080 | VAV | Not Included | Lab Support 5 N-0310F | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_FCU6997 | FCU | Not Included | Lab Sup 2 N-0310B | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0101 | AT | Included | Office S-0244A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0102 | AT | Included | Office S-0244B | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0103 | AT | Included | Office S-0244C | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0104 | AT | Included | Office S-0244D | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0105 | AT | Included | Office S-0244E | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0107 | AT | Included | Office S-0262A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0108 | AT | Included | Office S-0262B | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0109 | AT | Included | Office S-0262C | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0110 | AT | Included | Office S-0262H | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0111 | AT | Included | Office S-0262E | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0112 | AT | Included | Office S-0262F | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0113 | AT | Included | Office S-0262G | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_L0_AT-0114 | AT | Included | Office S-0262D | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_GF_FCU7993 | FCU | Included | Stair 5 N-0ST05 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_1F_FCU2004 | FCU | Included | Corridor N-1202 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-4260 | AT | Included | Office 05 -8WS- N-0255 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_1F_AT-6372 | AT | Included | Office N-1374 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_1F_AT-6374 | AT | Included | Office N-1375 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_1F_AT-6376 | AT | Included | Office N-1376 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_1F_AT-6378 | AT | Included | Office N-1377 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-0207 | AT | Included | Open Plan S-1293A | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-0208 | AT | Included | Open Plan S-1293 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-0201A | AT | Not Included | Policy Executive Director Office S-1240 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-0201B | AT | Included | Open Plan S-1229 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_SB_1F_AT-0206 | AT | Not Included | Policy Executive Director Office S-1240 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-4900 | AT | Not Included | Normal Electric N-2102 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-4910 | AT | Not Included | Emergency Electr N-2103 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-6979 | AT | Not Included | Normal Elec. N-2107 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-6980 | AT | Not Included | Emer. Elec. N-2108 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-7975 | AT | Not Included | Normal Elec. N-2111 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one
RDC_NB_2F_AT-7980 | AT | Not Included | Emer. Elec. N-2112 | the historian has no object for this number, and no assembly it could be part of - it is neither a controllable asset nor a part of one