## Physical Meters
Meter | Datapoint
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-CHW-Energy-PV
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-Pri-Energy-PV
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-Sec-Energy-PV
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-HEX-Energy-BTU
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-HEX-k-W
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_CHW-Consumption-KW
entity:QNL_CHWS-MAIN-LOOP_Energy-Meter | entity:QNL_CHWS-MAIN-LOOP_Energy-Meter_HEX-Bldg-Util-Energy-PV
entity:QNL_ELEC-MFM-MVP1 | entity:QNL_ELEC-MFM-MVP1_Electrical-Energy-Usage-Sensor
entity:QNL_ELEC-MFM-MVP2 | entity:QNL_ELEC-MFM-MVP2_Electrical-Energy-Usage-Sensor
entity:QNL_ELEC-MFM-MVP3 | entity:QNL_ELEC-MFM-MVP3_Electrical-Energy-Usage-Sensor
entity:QNL_ELEC-MFM-Total | entity:QNL_ELEC-MFM-Total_Electrical-Energy-Usage-Sensor
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_Electric-Power-Sensor-KW
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_KW-Daily
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_KW-Monthly
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_K-Wh
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_MW-Daily
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_MW-Monthly
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_Electric-Power-Sensor-k-Whpreviousdatadaily
entity:QNL_ELEC-MV1-ACB1-MFM | entity:QNL_ELEC-MV1-ACB1-MFM_Electric-Power-Sensor
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_Electric-Power-Sensor-KW
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_KW-Daily
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_KW-Monthly
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_K-Wh
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_MW-Daily
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_MW-Monthly
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_Electric-Power-Sensor
entity:QNL_ELEC-MV1-ACB2-MFM | entity:QNL_ELEC-MV1-ACB2-MFM_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_Electric-Power-Sensor-KW
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_KW-Daily
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_KW-Monthly
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_K-Wh
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_MW-Daily
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_MW-Monthly
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_Electric-Power-Sensor
entity:QNL_ELEC-MV2-ACB10-MFM | entity:QNL_ELEC-MV2-ACB10-MFM_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_Electric-Power-Sensor-KW
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_KW-Daily
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_KW-Monthly
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_K-Wh
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_MW-Daily
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_MW-Monthly
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_Electric-Power-Sensor-k-Whpreviousdatadaily
entity:QNL_ELEC-MV2-ACB11-MFM | entity:QNL_ELEC-MV2-ACB11-MFM_Electric-Power-Sensor
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_Electric-Power-Sensor-KW
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_KW-Daily
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_KW-Monthly
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_K-Wh
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_MW-Daily
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_MW-Monthly
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_Electric-Power-Sensor
entity:QNL_ELEC-MV3-ACB13-MFM | entity:QNL_ELEC-MV3-ACB13-MFM_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_Electric-Power-Sensor
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_KW-Daily
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_KW-Monthly
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_K-Wh
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_MW-Daily
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_MW-Monthly
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_Electric-Power-Sensor-k-Whpreviousdatadaily
entity:QNL_ELEC-VCB-11KVIF1-Meter | entity:QNL_ELEC-VCB-11KVIF1-Meter_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_Electric-Power-Sensor-KW
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_KW-Daily
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_KW-Monthly
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_K-Wh
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_MW-Daily
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_MW-Monthly
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_Electric-Power-Sensor-k-Whpreviousdatadaily
entity:QNL_ELEC-VCB-11KVIF2-Meter | entity:QNL_ELEC-VCB-11KVIF2-Meter_Electric-Power-Sensor
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_Electric-Power-Sensor-KW
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_KW-Daily
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_KW-Monthly
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_K-Wh
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_MW-Daily
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_MW-Monthly
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_Electric-Power-Sensor-k-Whpreviousdatadaily
entity:QNL_ELEC-VCB-11KVOF1-Meter | entity:QNL_ELEC-VCB-11KVOF1-Meter_Electric-Power-Sensor
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_Electric-Power-Sensor-KW
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_KW-Daily
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_KW-Monthly
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_K-Wh
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_MW-Daily
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_MW-Monthly
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_Electric-Power-Sensor
entity:QNL_ELEC-VCB-11KVOF2-Meter | entity:QNL_ELEC-VCB-11KVOF2-Meter_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_Electric-Power-Sensor-KW
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_KW-Daily
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_KW-Monthly
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_K-Wh
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_MW-Daily
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_MW-Monthly
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_Electric-Power-Sensor
entity:QNL_ELEC-VCB-11KVOF3-Meter | entity:QNL_ELEC-VCB-11KVOF3-Meter_Electric-Power-Sensor-k-Whpreviousdatamonthly
entity:QNL_Total-Energy | entity:QNL_Total-Energy_Energy